TARALAY INITIAL COMFORT is an acoustic multi-layered vinyl floorcovering, available in 2m wide sheet, with a group T wear rating.

The product comprises a foam backing reinforced with a glass fibre and a printed design that is protected by a transparent wear layer (0.65 mm thick). It offers 19 dB sound insulation and an indentation resistance of 0.10 mm.

It is treated with Protecsol®, a UV cured surface treatment, which facilitates ease of maintenance and eliminates permanently the need for acrylic emulsion (metallisation).

It does not contain any heavy metals or CMR 1&2 and is 100% compliant with REACH. The products emission rate of  volatile organic compounds is < 10 µg/m3 (TVOC after 28 days – ISO 16000-6). It is 100% recyclable.