Classic Imperial 2mm

CLASSIC IMPERIAL 2mm is a flexible homogeneous calendered compacted floorcovering in tiles or sheets, with directional design, colour dyed as a raw mixture to ensure even colour throughout the thickness. Its surface is densely compacted for improved wear and ease of maintenance.

It receives a polyurethane (PUR) surface treatment for ease of maintenance and to avoid the use of an acrylic emulsion after installation.

CLASSIC IMPERIAL 2mm is anti-bacterial and fungicidal.

The flooring complies with the EN 649 (34 - 43) and has a group M (K5) wear rating. It is suitable for heavy traffic areas.