CLEAN CORNER SYSTEM – PROFILE OUT

The hygiene and the durability of the external corner will be reinforced by the use of a semi-rigid 3D-triangular profile under the coving (such as the patented Clean Corner System profile OUT manufactured by Gerflor).