The selected floor covering is MIPOLAM BIOCONTROL, a single-layer homogeneous PVC covering approved for the construction of ISO 4 cleanrooms, with integrated colour and non-directional pattern, calendered, in rolls (2 m wide) or tiles (608 x 608 mm).

It is classified according to its particulate, molecular and micro-biological impact.

Mipolam BIOCONTROL is coated with a photo-reticulated polyurethane surface treatment that provides surface finish and cleanability suitable for cleanroom contamination control.

It particularly withstands H2O2 type decontamination processes.