Tarasafe Standard

TARASAFE STANDARD with PUR surface treatment is a slip resistant safety vinyl floorcovering, with a PVC wear layer and deeply inlaid mineral crystal particles (patented).  It is reinforced by a glass fibre grid and available in a sheet format.

It is an ideal solution for heavy traffic applications where slip resistance, durability, hygiene and easy maintenance are required.

According to ISO 22196, it has anti bacterial activity against MRSA of 99% after 24h00.

TARASAFE STANDARD is suitable for most contract & commercial areas. It is eco-friendly, 100% recyclable, Floorscore® certified and does not contain any heavy metals or CMR 1&2, it is also 100% compliant with REACH.

The product emission rate of volatile organic compounds is < 100 µg/m3 (TVOC after 28 days – ISO 16000 -6).

The PUR surface treatment improves the product performance in term of stain resistance and durability.