DECOCHOC THERMOFORMING

# Description: cut to size and thermoforming Decochoc panel from PVC achieving class 0 fire-rating with solid colour. Lightly textured surface finish, 2 mm thick.

Colour: selected by architects from manufacturer’s standard range.

Installation sequence: glue as per manufacturer’s instructions.