DECOCARE

# DECOCARE

# hand hygiene protection panel

Description hand hygiene protection panel, classic or fountain shape (Decocare as manufactured by Gerflor) from translucent antibacterial PVC achieving Bs2d0 fire rating with image printed on the back. Its surface is lightly textured. Its length is 600 mm and its height is 400 mm (classic) or 600 mm (fountain) and its thickness is 1 mm.

No heavy metals and no substance potentially subjected to any REACH restriction are used in its manufacture. The calcium-zinc thermal stabilisation process is used. The emission of VOC is under 15 µg/m3 according to ISO 16000. 100% of the product are recyclable.

Colour: selected by architects from manufacturer’s standard range. Customized on request.

Installation sequence: Universal mastic-glue, as per manufacturer’s instructions.