FOOT-HEIGHT DOOR PROTECTION

Description: Adhesive protection plates (Contact 350 or 200 as manufactured by Gerflor) comprising smooth PVC profiles with a height of 350 or 200 mm, 2.5 mm thick. PVC profiles achieving Bs2d0 fire-rating, feature solid colour and smooth surface finish with decorative grooves. Sections are delivered with 2 or 3 strips of adhesive tape for fixing.

No heavy metals and no substance potentially subjected to any REACH restriction are used in its manufacture. The calcium-zinc thermal stabilisation process is used. The emission level of volatile substance in inside air has been tested according to ISO 16000 and is under 15μg/m3. 100% of the product are recyclable.

Colour: selected by architects from manufacturer’s standard range.

Installation method: Adhesive. Gerflor universal mastic glue is recommended for stronger fixing.