1/2 HEIGHT DECORATIVE DOOR

# 1/2 HEIGHT DECORATIVE DOOR

Decochoc protection and covering panel with decorative cut outs

Description: half-height decorative one colour door protection (Iron, Wave, Mountain or Cubic masks as manufactured by Gerflor) or two-colour door protection (Stratum, Cubic, Comma, Stairs, Rainbow masks as manufactured by Gerfl or) from antibacterial PVC achieving Bs2d0 fire rating with solid colour. Lightly textured surface finish, 2 mm thick.

No heavy metals and no substance potentially subjected to any REACH restriction are used in its manufacture. The calcium-zinc thermal stabilisation process is used. The emission level of volatile substance in inside air has been tested according to ISO 16000 and is under 15μg/m3. 100% of the product are recyclable.

Colour: selected by architects from manufacturer’s standard range.

Installation sequence: glue as per manufacturer’s instructions.