INLAYED SIGNAGE

# INLAYED SIGNAGE

For Decochoc panel 1/2 height door protection

Description: Inlayed signage in half-door Decochoc protection (Numerals or early childhood drawings as manufactured by Gerflor) from rigid PVC achieving Bs2d0 fire-rating with solid colour and textured surface. 2 mm thick.

No heavy metals and no substance potentially subjected to any REACH restriction are used in its manufacture. The calcium-zinc thermal stabilisation process is used. The emission level of volatile substance in inside air has been tested according to ISO 16000 and is under 15μg/m3. 100% of the product are recyclable.

Colour: selected by architects from manufacturer’s standard range.

Installation sequence: glue as per manufacturer’s instructions.