PROFIL’INOX 50 and 30

# PROFIL’INOX 50 and 30

90° adhesive corner protector in brushed stainless steel

Description: 90° adhesive corner protector with 50 mm wings (such as Gerflor's Profil’Inox 50), or with 30 mm wings (such as Gerflor's Profil’Inox 30), in 10/10th brushed stainless steel approved for food handling areas and provided with two adhesive foam tapes. Wings are lightly beveled. A protective film is specified to minimise cleaning before acceptance.

Finish: Brushed metal

Installation method: Adhesive. Gerflor universal mastic glue is recommended for stronger fixing.