PROFILA 50 and 30

# PROFILA 50 and 30

# 90° corner protection with adhesive tape

Description: 50 mm or 30 mm wide wings, 90° corner protector (Profila 50 or Profila 30 as manufactured by Gerflor) comprising smooth and antibacterial PVC profile achieving Bs2d0 fire-rating with solid colour. 2 mm thick, wings are 50 mm or 30 mm wide (internal measurement). It is provided with 2 strips of self adhesive tape for fixing.

No heavy metals and no substance potentially subjected to any REACH restriction are used in its manufacture. The calcium-zinc thermal stabilisation process is used. The emission level of volatile substance in inside air has been tested according to ISO 16000 and is very low (A+) according to the french regulation (23 march 2011 nr 2011-321 Decree and 19 April 2011 Order). 100% of the product are recyclable.

Colour: selected by architects from manufacturer’s standard range.

Installation sequence: Adhesive. Gerflor universal mastic-glue is recommended for stronger fixing.