Specification

# Decocare

Hand hygiene panel

- Description: hand hygiene panel, classic or fountain shape (Decocare as manufactured by SPM) from translucent antibacterial PVC achieving Bs2d0 fire rating with image printed on the back. Its surface is slightly textured (“Velvet“ grain as manufactured by SPM). Its width is 600 mm, its height is 400 mm (classic) or 600 mm (fountain) and its thickness is 1 mm.

- Environment: no heavy metals and no substance potentially subjected to any REACH restriction are used in its manufacture, nor PBT/BPA. The calcium-zinc thermal stabilisation process is used. The emission level of volatile substance in inside air has been tested according to ISO 16000-6 and is very low (A+) according to the French regulation (23 March 2011 nr 2011-321 Decree and 19 April 2011 Order). 100% of the product are recyclable.

- Colour: selected by architects from manufacturer’s standard range. Customized on request.

- Installation method: glue, as per manufacturer’s instructions.