Specification

# Elasto’Punch 100D

Wall protection rail – 100 mm high

- : D-shaped round protection rail in non-rigid and smooth thermoplastic elastomer (Elasto’Punch 100D as manufactured by SPM) comprising a 100 mm height profile, 90 mm deep, solid colour and 14 mm thick, giving it excellent impact-resistance properties and good ageing and UV resistance. Finish is provided by end pieces and screw-cover obturators in smooth thermoplastic elastomer.

- Environment: no heavy metals are used in its formulation, nor PBT/BPA. 100% of the product are recyclable.

- Colour: black

- Installation method: by screwing